## Slide 1: TE Challenge Component Model
NIST / PNNL / Vanderbilt / CMU
September 20th 2016

## Slide 2: TE Challenge Common Platform Specification
A detailed technical specification that can be faithfully implemented on one or more simulation platforms comprising:
  A set of model components with specific minimum interfaces
    Any interface can be extended as needed for any TE Challenge Case
    Core components can be combined and hide internal interfaces
  A canonical simulation that allows the set of components to be orchestrated in a simulation
    Minimal or extended models can be substituted for any component(s) and can simulated by the same experiment controller
  A reference grid and scenario
    A defined set of grid nodes, resources, controllers, and transactive agents and market simulation to provide a baseline for comparison
  A minimum core set of analytics based on the data provided through the canonical simulation

## Slide 3: Notional Topology of A TE Simulation
Resource: Load
Resource: DER
Microgrid PCC
Grid Node
Key
Supervisory Controller
Grid + Controls
Manages
Local Controller
Transactive Agent
Transactive
Weather
Resources
Bulk Generator
Industrial Load
Microturbine
Storage
Industrial Customer
Grid Controller
2
7
3
4
5
6
1
Residence Load
Retail Customer
Auction
Aggregator TA
Weather
Transactive Appliance
Building/Home with Automation System
Transactive Broker - Aggregator
Distribution System Operator
Market Maker
Grid Controller
Grid

## Slide 4
Core Modeling Components of Common Platform

## Slide 5
Common Platform Canonical Simulation

## Slide 6
Experiment Manager
Weather
Grid
Resource
Local Controller
Supervisory Controller
TransactiveAgent
Auction
Comms Simulator
Simulation Interaction Bus (HLA, FNCS, SGRS)
Analytics
How Simulation Components Get Realized in Simulators

## Slide 7
X10 for each phase
{Quote: Cleared Price, Marginal Quantity}
{Tender: Bid Price, Bid Quantity, State}
{Setpoint}
{Desired Setpoint,
State}
{TMY3 Data}
ABC
ABC
AS
BS
CS
Weather
Baseline Reference Scenario
PV Panel (+inverter)
Dummy Grid Load
Controllable Load (HVAC)
Uncontrollable Load
Resources
Logical Connectors
Links
Nodes
Meter (triplex)
Node (triplex)
Node (three-phase)
Triplex cable
Transformer
Power Flow
Transactive Agents
Data
Thermostat
LocalController
Bidding Controller
Auction
SupervisoryController
Weather
Bulk Power
30 houses divided among three phases on one distribution transformer.
The distribution system has one uncontrollable load (Resource) and one source of bulk power (Resource).
There is a weather feed of TMY3 Data for a single locale (Weather).
Each house has:
A solar panel (Resource)
A controllable load – HVAC (Resource)
A non-controllable load (Resource)
A home automation system (SupervisoryController)
A thermostat (LocalController)
A transactive agent (TransactiveAgent)
Grid

## Slide 8: Metrics that can be Extracted by Analytics Component
Through the course of the experiment/simulation the following data can be extracted from the message exchange:
  Grid power flow and voltage states
  Load profile as consumed by all loads
  Generation profiles as produced by all solar panels
  Aggregated loads by household
  Price negotiations and exchanges
  Realized pricing coordinated by loads and generators

## Slide 9: Next Steps
Add object instance diagram to UML model
Model TMY details of weather component
Trace transactive components to OpenADR/EI/CIM
Define sets of initial conditions